AOS_Machine_Socket

To install the AOS_Machine_Socket software, download the AOS_Machine_Socket.exe file, then doubleclick on it to install the software. The Machine Socket software will be available from the Start menu.

Version 0.7 is a beta program. When run, it does the following:

- Provide serial connection to the XLA/I.

- Provide a TCP/IP socket for communications to external program.

  - Default socket parameters- address: 127.0.0.1 (local host), port: 1000. These may be changed.

  - The TCP/IP socket currently provides the “getter” functions for the XL status (rotor speed, etc.). The “setter” functions are being worked on and should be available shortly.

  - Both the available getter commands and coming soon setter commands are listed in ‘Draft_Machine XMLRPC.doc’

  - The communications with the socket (showing examples of the syntax of the expected method request and method response) is available in ‘Draft AOS_XMLRPC Specification.doc’

- Provides a panel showing the XL status and allowing the XLA to be run.

What it does not do, yet

- Have the “setter” commands completed (coming soon).

- Install a client socket program (available on request, and a more complete version is under development)

- Operate the XLA absorbance system (under development)